## Slide 1: Induced Therapeutic Hypothermia
For Patients Following Cardiac Arrest

## Slide 2: Purpose of treatment
After cardiac arrest, there is an ischemic phase and reperfusion phase. During these two phases several changes occur that release inflammatory particles and oxygen free radicals into the blood.
These have the potential to destroy nerve cells inside of the brain and also lead to destruction of other cell components inside of the body which can cause irreversible and long term damage or death.
(Marshall and Siegel, 2009)

## Slide 3: Objectives for therapy
Achieve the optimal temperature for therapeutic hypothermia as soon as possible
Keep the patient at this temperature for the length of time prescribed with only small fluctuations in the range
When it is time to rewarm the patient, ensure the rewarming is done slowly to prevent any damage.
Notes: It is important to cool the patient as quickly as possible. Marshall and Siegel (2009) have stated that rapid cooling is better in the long term than slow cooling due to many studies that have investigated each scenario. The more quickly a temperature of about 33 degrees Celsius can be achieved, the better the overall outcome will most likely be for the patient. After the optimal temperature has been reached, it is important for the patient to remain at this temperature for the prescribed period of time (normally 24 hours). There can be a one degree fluctuation, but it is important for the body to maintain an even temperature to keep equilibrated. During the rewarming phase, it is also necessary to perform this slowly (normally over 12 hours) to ensure there will be no problems with the patient. Constant monitoring of the patient is crucial during this phase to ensure overall success.

## Slide 4: Patient Criteria
Less than an hour between cardiac arrest and return of spontaneous circulation
Patient had initial ventricular fibrillation
Systolic blood pressure >90 mm Hg
Within six hours of cardiac event
(All of these factors vary based on the institution)

## Slide 5: Description of Methods
Ice packs
Water Circulating Cooling Blankets/Pads
Hydrogel-Coated Water-Circulating Pads
Infused Cool Crystalloid (4°C)
Endovascular/ Catheter Devices
Notes: Ice packs offer the most inexpensive means to cool. They are a very slow method and are unreliable to use for maintaining temperatures or rewarming. There is also a larger risk of skin lesions and burns than with other methods.
Water-Circulating Methods are labor intensive for nurses and require the use of two blankets. They are inexpensive compared to other methods and can specifically target the neck area as opposed to the ice packs.
The Hydrogel Method gives a slight risk of skin lesions if used for a prolonged period and has a fast rate of cooling with a reliable rate of rewarming also.
Infused crystalloid cannot be used to control rewarming or to maintain temperature, but is easily accessible. It offers a fast rate of cooling as well.
Endovascular devices require central access and can cause the risk of infections or bleeding. They are tolerable in conscious patients and offer a fast rate of cooling and reliable maintenance and rewarming. They are the most costly of all methods.

## Slide 6: Use of the Arctic Sun
Notes: The Arctic Sun method is used in many hospitals across the nation. It is safe and has proven reliable time after time. The machine uses cooling pads to circulate the liquid throughout the pad without exposing any onto the skin of the patient. The electric equipment monitors temperature and allows for greater control and reliability as well as accessibility throughout the cooling and rewarming processes. It is rapid, accurate, and can be moved from room to room with ease.

## Slide 7: Signs and Symptoms
Shivering
Seizures
Hypotension
Electrolyte Imbalance
Acid-base Imbalances
Notes: Shivering is most important as this is an indication of the body attempting to warm itself. Seizures will occurs sometimes during the rewarming period and must be controlled to prevent brain injury, normally with sedation. Hypotension must be avoided by the maintenance of blood pressure to ensure no coagulation problems or cardiovascular issues. Electrolyte imbalances are important to ensure enough sodium and potassium are being delivered to organs in the body. Acid-base imbalances are important to watch for because the body has a strict pH level it must fall within and there must also be enough oxygen saturation and carbon dioxide be expelled from the lungs.

## Slide 8: Side Effects of Therapy
Shivering
Hypoxia
Loss of motor reflexes
Acid-base disturbances
Decreased cerebral blood flow
Hypotension
Bradycardia
Increased ventricular fibrillation risk
Notes: Shivering is the body’s normal response to increase its temperature and must be controlled in order to prevent adverse effects or harm to the patient. This can be accomplished by using sedation to keep the patient’s body at rest and relax the muscles. Also, if warmers are placed on the hands and feet, this will help in many instances.

## Slide 9: Complications of Therapy
Seizures
Infections
Pneumonia
Coagulation Problems
(Many of the side effects to therapeutic hypothermia are also complications of therapy if care is not taken to prevent these from progressing)
Notes: Sometimes a patient will experience seizures due to hypothermia. This is important to counteract and treat before there are any disturbances in the brain. Infections in the body and pneumonia in the lungs can be caused by the decrease in body temperature and the result of the patient lying flat for an extended period of time. Coagulation problems may result due to the circulation problems in the body because of the cooling and rewarming process. There will be lysis of red blood cells

## Slide 10: Documentation Procedure
Continual monitoring of temperature
Blood pressure monitoring
Blood Gas Measurement
Electrolyte laboratory testing
Blood glucose testing
Complete skin assessment to ensure no lesions or problems during all phases
Notes: All of the procedures listed MUST be documented as they are performed to ensure proper therapy is given and proper procedures are adhered to so the patient’s health and mortality is not compromised. The temperature must be continuously monitored via some internal means, such as a bladder thermometer. Blood pressure should be monitored at least every two hours. Arterial blood gases must be taken at least every two hours. Electrolytes must be taken at least every four hours. Glucose testing should be taken at least every six hours. A complete skin assessment should be performed at least every four to six hours during all phases of therapeutic hypothermia.

## Slide 11: Rewarming Process
After the 24 hour period (or prescribed period) of therapeutic hypothermia, the patient should be rewarmed slowly
This should be controlled to avoid rebound hypothermia
It is best to rewarm at a rate of about half a degree per hour and achieve this in about 12 hours
Monitoring of the patient during this time is crucial

## Slide 12: Conclusion
Therapeutic hypothermia has been shown through numerous studies over the course of many years and in many countries to extend the livelihood of patients if performed in time after the onset of cardiac arrest.
This can only successfully be achieved through teamwork and diligence with everyone on the staff.

## Slide 13: References
Arctic Sun Temperature Management System. (n.d.). Retrieved from Medivance: http://www.medivance.com/index.htm
Hospital, L. V. (2007). Therapeutic hypothermia after cardiac arrest. Guide, Leigh Valley Hospital Health Network, Neuroscience Intensive Care Unit.
Marshall, P., & Siegel, M. (2009, November 15). Therapeutic Hypothermia. Retrieved from American College of Chest Physicians http://www.chestnet.org/ accp/pccsu/therapeutic-hypothermia?page=0,3